≡Please indicate required parameters instead of red tinted ones below (fill areas __________).

Also for best quotation You may fill areas with green line.

| Concave OFF AXIS PARABOLIC MIRROR | SPECIFICATION (see drawing below) |  |  |
| --- | --- | --- | --- |
| Standard specification: Back surface: perpendicular to optical axis of mirror Non optical surfaces: fine ground ~45µm; chamfering Marking: Individual #; Arrow to Vertex; Work environment: Laboratory, +10°C …+45°C, no baking | Substrate material (Astro Sitall, Zerodur, Fused Silica, other?) |  | Astro Sitall by deafult |
|  | Beam size (diameter by default), [mm], ±0.5 |  | ________ |
|  | Clear (Work) Aperture ≡ CA CA Length, [mm], +0.5 -0 CA Width, [mm] , +0.5 -0 |  | ≥ beam diameter / Cos(AOI); ≥ beam diameter by deafult |
|  | Mirror Length & Width, [mm] +0, -0.5 Mirror End Thickness (ET), [mm], ±0.5 |  | ≥ CA length & ≥ CA width; ≥ mirror length / 7. |
|  | Effective (or Slant, Reflective) Focal Length (EFL), [mm] ±0.5% |  | ________ |
|  | Angle Off Incidence (AOI), [arc degrees] ±0.5% |  | ________ |
|  | Desirable Focal Spot Diameter, [mm] FWHM, |  | ________ |
|  | Zonal Radius (Y-Shift, Off Axis Distance to center), [mm] ±0.5% |  | ____ |
|  | Parent Parabola Focal Length (PFL), [mm] ±0.5% |  | ____ |
|  | Surface figure accuracy (Appendix 2) (at test Lambda=633nm, RMS or/and P2V) |  | Fill if the absence of wavefront distortion is important for your task |
|  | Surface quality, [Scratch-Dig], choose at full CA or at 1” Micro-Roughness, RMS [nm] |  | __-__ actual for visible range ______ |
|  | Work wavelength range [nm], mark if eV is used and desirable coating requirements |  | ________ ________ |
|  | Mounted or not? If mounted – mounting requirements? | ______ |  |
| Other important notes, requirements or something else? Please describe them here. |  |  |  |